## Sheet2 (hidden)
Risk Score | Action Rating
1 | A5
2 | A5
3 | A4
4 | A4
5 | A3
6 | A3
7 | A3
8 | A2
9 | A2
10 | A2
11 | A2
12 | A1
13 | A1
14 | A1
15 | A1

## Register Database (NAD) (hidden)
Hazard Group | Building Number | Building Description | Room Number | Room Description | Ceiling | Walls | Floor | Other | Comment

## Drop Down lists (hidden)
Material drop down list | Application drop down list | Quantity unit | Numeric value drop down list | Closed Question Drop Down List | Hazard Group | Asbestos detected? | Building Number | Building Description | Room Number | Room Description
Plaster | Ceiling | m² | 0 | Yes | ACM | Asbestos detected.
Brick | Wall | lm | 1 | No | NAD | Asbestos presumed.
Concrete | Floor | item(s) | 2 |  | Pending results
Timber | Lower wall |  | 3
Metal | Upper wall
Modern vinyl | Infill panel
Cement sheet | Porch floor
Carpet | Porch ceiling
Masonite | Eaves
SMF | Flue
Vinyl | Fire rated cabinet
Mastic | Fireproof safe
Putty | Fireproof door
Malthoid | Pipework
Other | Cubicle partitions
Same as previous audit | Electrical switchboard
No longer present | Splashback
Urinal
Sink lining
Gasket
Gables
Fascia
Clear storey eaves
sub floor
Other
All surfaces (floor, wall, ceiling)

## Example Register
Inspection date: / / |  |  | This form is to be completed with reference to the Division 5 Asbestos Audit Report dated: / /
Name and address of Department workplace: | [6 empty] | Inspection conducted by:
Updated Register signed off by: |  |  |  |  | Asbestos Coordinator and |  |  | Health and Safety Representative:
Building / Site Location | Action Rating | SAMS Room Number/s | Room Description | Asbestos Containing Materials (ACM) Description | Surface (e.g. ceilings, walls) | Condition of ACM at Audit | Current Condition of ACM | Further Action / Comment | Date of Removal of Asbestos Item/s | Re-inspection date
Building A | A4 | 32 | Store room | Asbestos containing zelemite and suspect asbestos material | Electrical switchboard | Good | Good | Suspected asbestos material behind electrical switchboard. Encapsulated by electrical switchboard. Switchboard in good condition |  | 2013-06-01
Building A | A3 | 32 | Store room | Asbestos containing white painted fibro cement | Ceiling | Requires attention Requires expert advice/ inspection - Restrict access and contact service provider | Asbestos has been removed |  | 2013-06-01 | N/A
Building C | A3 | 11 | 49 Classroom | Asbestos containing unpainted fibro cement | Heater flue | Requires attention Paint damaged edges | Good | Fibro cement heater flue has been painted. |  | 2013-06-01
Block B | A4 | 19 | Multi-purpose | Flat fibro cement sheeting | Lower walls | Good | Good |  |  | 2013-06-01
Portable 1234 | A4 |  | External | Porch ceiling – asbestos containing white painted fibro cement | Porch ceiling | Good | Portable has been removed |  | 2013-05-01 | N/A
Portable 5678 | A3 |  | External | Asbestos containing pebble coated fibro cement | Eave-South-Upper | Requires attention Small repair needed in south-west corner | Good | Repaired May-13 |  | 2013-06-01

## Register
Inspection date: / / |  |  | This form is to be completed with reference to the Division 5 Asbestos Audit Report dated: / /
Name and address of Department workplace: | [6 empty] | Inspection conducted by:
Updated Register signed off by: |  |  |  |  | Asbestos Coordinator and |  |  | Health and Safety Representative:
Building / Site Location | Action Rating | SAMS Room Number/s | Room Description | Asbestos Containing Materials (ACM) Description | Surface (e.g. ceilings, walls) | Condition of ACM at Audit | Current Condition of ACM | Further Action / Comment | Date of Removal of Asbestos Item/s | Re-inspection date
Home Economics | A3 | 300 | Security Store | Cement sheet lining | Fire rated cabinets (Kookaburra) | Good
Home Economics | A3 | 300 | Security Store | Cement sheet lining | Fire rated cabinet (Lord) | Good
Home Economics | A3 | 300 | Security Store | Cement sheet lining | Fire rated cabinets (Firemaster) | Good
Home Economics | A3 | 300 | Security Store | Cement sheet lining | Fire proof safe | Good
Art / Steno (D1) | A3 | 35 | Kiln room | Cement sheet | Kiln lining | Good
Humanities | A1 | 50 | Plant | Rope gasket | Boiler hatch | Requires removal
Humanities | A1 | 50 | Plant | Rope gasket | Below boiler hatch | Requires removal
Gymnasium (F1) | A3 | 74 | Gymnasium | Cement sheet | Vent covers | Good
Gymnasium (F1) | A3 | 240 | Office | Cement sheet lining | Fire proof safe | Good
Trade (G1) Building | A3 | 82 | Store | Cement sheet, Millboard lining | Fire door | Good
Trade (G1) | A2 | 88 | Staff Work | Millboard | Desk | Requires removal
Trade (G1) Building | A4 | 103 | Fan room | Mastic | Flange joint | Good
Trade (G1) Building | A4 | 104 | Plant Room | Mastic | Flange joint | Good
Trade (G1) | A1 | 104 | Plant Room | Rope gasket | boiler hatch | Requires removal
Building I | A1 | 10 | Plant Room | Rope gasket | Boiler hatch | Requires removal
Building I | A1 | 10 | Plant Room | Paper lining | Base of boiler unit | Requires removal
Plant Room | A4 | 192 | Plant Room | Mastic | Flange joint Below furnace hatch | Good
Plant Room | A1 | 192 | Plant Room | Rope gasket | Boiler hatch | Requires removal
Portable 5819 | A3 | 193 | Practical (T9) | Cement pipe | Flue | Good
Portable 5243 | A3 | 222 | Resource | Cement pipe | Flue | Good
Portable 5243 | A4 |  | External | Cement sheet | Porch floor west | Good
Portable 5243 | A4 |  | External | Cement sheet | Porch floor east | Good
Portable 4249 | A2 |  | External | Cement sheet | Eaves | Requires removal
Portable 4665 | A4 | 353 | GLC | Cement sheet | Ceiling | Good
Portable 4665 | A4 | 354 | GLC | Cement sheet | Ceiling | Good
Portable 4665 | A4 | 355 | Preparation | Cement sheet | Ceiling | Good
Portable 4665 | A2 |  | External | Cement sheet | Eaves | Requires removal
Portable 3086 | A4 | 264 | Classroom (J1 4) | Cement sheet | Ceiling | Good
Portable 3086 | A4 | 265 | Resource | Cement sheet | Ceiling | Good
Portable 3086 | A3 | 265 | Resource | Cement pipe | Flue | Good
Portable 3086 | A4 | 266 | Store | Cement sheet | Ceiling | Good
Portable 3086 | A4 | 267 | Classsroom (J1 3) | Cement sheet | Ceiling | Good
Portable 3086 | A4 |  | External | Cement sheet | Porch ceiling west | Good
Portable 3086 | A4 |  | External | Cement sheet | Porch ceiling east | Good
External car park adjacent to site rubbish skip between the BER Performing Arts building and the Gymnasium | A2 |  | External | Cement sheet debris | Ground | Requires removal

## Code_Lists (hidden)
Action Required?
Good
Requires attention
Requires removal
Note on A2: Richard Chaplin: All of A4 and A5 ratings, some of A3 ratings
Note on A3: Richard Chaplin: A3 rating
Note on A4: Richard Chaplin: A1 and A2 ratings