Testing and Tagging of Electrical Equipment Frequency Guide

**This guide should be read in conjunction with the Testing and Tagging of *Electrical Equipment Procedure***

Testing and Tagging of electrical equipment Schedule (modified from AS/NZS 3760:2010).

| **Type of Electrical Equipment / Environment** | **Testing and Tagging Interval** |
| --- | --- |
| **Protective Earthed (3 Pin Plug)** | **Extension Cords** |
| Fixed wood work / metal work /automotive / maintenance equipment | 5 years | 6 months |
| Portable wood work / metal work / automotive / maintenance equipment | 6 months | 6 months |
| Portable science equipment | 6 months | 6 months |
| Portable art / photography / ceramic equipment | 6 months | 6 months |
| Fixed kitchen / canteen / food laboratory equipment | Every 5 years | 12 months |
| Portable kitchens / canteen / food laboratory equipment | 12 months | 12 months |
| Desktop computers | 5 years | 5 years |
| Laptop computers | 12 months | 12 months |
| Photo copiers | 5 years | 12 months |
| Directional lighting in theatre room | 5 years | 12 months |
| Classroom | 12 months | 12 months |
| General office | 12 months | 12 months |